## Table 1
|  | METROLOGY LABORATORY | [30 empty] | Doc. No.: DOC/ML/014E
Rev. No.: 40 Date: 11.08.2020 Sheet 1 of 9
PERIODIC CALIBRATION SCHEDULES
Equipments used for Calibration in Metrology laboratory
Sl. No. | Name Of The Equipment |  | Location |  | Receipt date | Make/Model |  |  | Idfn No. |  | Range |  | Acceptable Limit | [11 empty] | Overall Measurement uncertainty |  |  | Calibration Freq / Month |  |  | Date of last calibration/ calibration due on |  |  |  | PCR No. |  |  | Remarks
1 | Angle Gauge Blocks Cro Blox - Lab Master |  | PML |  | Oct 1993 | Starrett 40893.6/ 48U8 |  |  | AGB-C-01L |  | Upto 90° |  |  2 arc sec | [11 empty] |  2.8 arc sec |  |  | 24M |  |  | July 19 July 21 |  |  |  | PCR-ML-001
2 | Autocollimator |  | PML |  | Feb 1997 | Moller-Wedel, Germany Elcomat-2000 Sl. No. 171 |  |  | ACM-C-02 |  | ±1000 arc sec |  | ± 1 arc sec | [11 empty] | ± 1 arc sec |  |  | 36 M |  |  | Jan 20 Jan 22 |  |  |  | PCR-ML-005
3 | Autocollimator |  | LMS |  | Sept 2003 | Taylor Hobson- UK DA 400 |  |  | ACL-C-03 |  | 400 arc sec |  | Upto 100 arc sec | [6 empty] | ± 2.0 arc sec |  |  |  |  |  1 arc sec |  |  | 24M |  |  | Jun 20 Jun 22 |  |  |  | PCR-ML- 123
[13 empty] | Upto 200 arc sec | [6 empty] | ± 3.0 arc sec
[13 empty] | Upto 300 arc sec | [6 empty] | ± 4.0 arc sec
[13 empty] | Upto 400 arc sec | [6 empty] | ± 5.0 arc sec
4 | Bench centre |  | ML |  | 1965 | Skoda - Czechoslovakia |  |  | BCS-C-01 |  | Length 600 mm Centre height 200 mm |  | Parallelity of centres | [6 empty] | 0.030 / 600 mm |  |  |  |  |  3 µm |  |  | 24M |  |  | Aug 20 Aug 22 |  |  |  | PCR-ML- 008
[13 empty] | Coaxiality of centres | [6 empty] | 0.015 / 300 mm
[13 empty] | Coaxiality of centres | [6 empty] | 0.040 / 600 mm
5 | Co-ordinate Measuring Machine |  | ML |  | Nov 1987 | Zeiss/UPMC- 850 Sl No. 81956 |  |  | CMM-C-01 |  | 600-1200 mm |  | ±(1.7+L/300) µm | [11 empty] |  (0.8+L/1000) µm |  |  | 12M |  |  | May 20 May 21 |  |  |  | PCR-ML-013
6 | Cylindrical Square, 300 mm |  | PML |  | 1965 | Somet AM 430671 |  |  | CSQ-C-01 |  | 300 mm |  | Flatness | [6 empty] |  2.5 µm |  |  |  |  | Roundness :  0.14 µm Other parameters: 1.2 µm Surface Roughness:  6.8% of measured value |  |  | 24M |  |  | Aug 19 Aug 21 |  |  |  | PCR-ML-014
[13 empty] | Squareness | [6 empty] |  5.0 µm
[13 empty] | Straightness | [6 empty] |  3.0 µm
[13 empty] | Surface finish | [6 empty] |  0.1 µm
[13 empty] | Cylindricity | [6 empty] |  3.0 µm
[13 empty] | Circularity | [6 empty] |  1.0 µm
7 | Dial caliper |  | ML |  | Aug 2000 | Tesa |  |  | DC-C-02 |  | 0-300 mm |  | Scale Calibration | [6 empty] |  40 µm |  |  |  |  |  12 µm |  |  | 12M |  |  | Aug 20 Aug 21 |  |  |  | PCR-ML-075
[13 empty] | Parallelity of jaws (External) | [6 empty] |  15 µm
[13 empty] | Parallelity of jaws (internal) | [6 empty] |  10 µm
8 | Dial Gauge, Plunger type |  | ML |  | June 1980 | Mahr / Millimess 666052 |  |  | DGP-C-01 |  | ± 0.05 mm |  | ± 1 µm | [11 empty] |  0.8 µm |  |  | 18M |  |  | May 19 Nov 20 |  |  |  | PCR-ML-016
9 | Dial Gauge, Plunger type |  | ML |  | June 1980 | Mahr / Supramess 663938 |  |  | DGP-C-02 |  | ±0.025 mm |  | ± 0.7 µm | [11 empty] |  0.5 µm |  |  | 18M |  |  | May 19 Nov 20 |  |  |  | PCR-ML-017
Prepared Officer-In-Charge Metrology Laboratory | [7 empty] | Approved Quality Manager Metrology Laboratory | [18 empty] | Status
CENTRAL MANUFACTURING TECHNOLOGY INSTITUTE TUMKUR ROAD, BENGALURU- 560 022
|  | METROLOGY LABORATORY | [30 empty] | Doc. No.: DOC/ML/014E
Rev. No.: 40 Date: 11.08.2020 Sheet 2 of 9
PERIODIC CALIBRATION SCHEDULES
Sl. No. | Name Of The Equipment |  | Location |  | Receipt date | Make/Model |  |  | Idfn No. |  | Range |  | Acceptable Limit | [11 empty] | Overall Measurement uncertainty |  |  | Calibratio n Freq / Month |  |  | Date of last calibration / calibration due on |  |  |  | PCR No. |  |  | Remarks
10 | Dial Gauge, Plunger type |  | PML |  | Jan 2010 | Somet N2-449 |  |  | DGP-C-03 |  | 1 mm |  | 1/10 Rev | [6 empty] |  1 µm |  |  |  |  |  0.8 µm |  |  | 12M |  |  | Feb 20 Feb 21 |  |  |  | PCR-ML-022
[13 empty] | 1 Rev | [6 empty] |  4 µm
[13 empty] | 2 Rev | [6 empty] |  6 µm
[13 empty] | Any larger interval | [6 empty] |  18 µm
11 | Digital Thermometer |  | PML |  | Sept 2003 | Wahl – USA 700M/ N633 |  |  | THM-C-02 |  | 0-60° C |  |  0.15° C | [11 empty] |  0.02 °C |  |  | 24M |  |  | Oct 19 Oct 21 |  |  |  | PCR-ML-111
12 | Digital Temperature Indicator |  | PML |  | Nov 2016 | Wahl – USA 700M/ 47105.001, 47105.002 |  |  | THM-C-03 |  | -1 to 60.99 °C |  |  0.15 °C | [11 empty] |  0.02 °C |  |  | 24M |  |  | July 20 July 22 |  |  |  | PCR-ML-107
13 | Digital Temperature Indicator |  | PML |  | Jun 2012 | Ahlborn Mess- GmbH |  |  | THM-C-04 |  | -10 to 90 °C |  |  0.15 °C | [11 empty] |  0.02 °C |  |  | 24M |  |  | July 20 July 22 |  |  |  | PCR-ML-155
14 | Digital Temperature Indicator |  | ML |  | Feb 2019 | Carl Zeiss |  |  | THM-C-05 |  | -1 to 60.99 °C |  |  0.15 °C | [11 empty] |  0.02 °C |  |  | 24M |  |  | Oct 19 Oct 21 |  |  |  | PCR-ML-169
15 | Electronic Comparator with lever Probe |  | ML |  | Aug 2010 | Tesa |  |  | ECD-C-03 |  | 0-300 µm |  |  0.2+50XL2 µm, L is in mm | [11 empty] | Res 0.1 µm:  0.3 µm Res1µm:  0.7 µm |  |  | 12M |  |  | Aug 20 Aug 21 |  |  |  | PCR-ML-135
16 | Electronic Level |  | PML |  | Nov 2005 | Taylor Hobson Talyvel 2 10109 |  |  | ELA-C-02 |  | 25 arc sec |  | ± 2.8 arc sec | [11 empty] | 1.2 arc sec |  |  | 12M |  |  | Nov 19 Nov 20 |  |  |  | PCR-ML- 126
[11 empty] | 100 arc sec |  | ± 5.0 arc sec | [11 empty] | 2.6 arc sec
[11 empty] | 8 arc min |  | ± 16 arc sec | [11 empty] | 11.7 arc sec
17 | Electronic Level |  | PML |  | Dec 2017 | Taylor Hobson Talyvel 6 Sl. No. 678 |  |  | ELD-C-03 |  | ± 2000 arc sec |  | ± 20 arc sec | [11 empty] | Upto 1000 arc sec:  1 arc sec Above 1000 arc sec:± 3 arc sec |  |  | 12M |  |  | Nov 19 Nov 20 |  |  |  | PCR-ML- 160
18 | Form Talysurf |  | PML |  | Oct 2000 | Taylor Hobson |  |  | FTS-C-01 |  | --- |  | Ra 0.05 | [6 empty] | Within 5.5 % of measured value |  |  |  |  |  4.1 % of measured value |  |  | 12M |  |  | *July 19 July 20 |  |  |  | PCR-ML-083 |  |  | * Instrument is under maintenance and action is being taken for repairs
Ra 0.19
Ra 0.56
Ra 1.48
Depth 0.36
Depth 2.49
19 | Form Talysurf PGI 1500 S |  | PML |  | Oct 2018 | Taylor Hobson |  |  | FTS-C-02 |  | --- |  | Ra 0.05 | [6 empty] | Within 5.5 % of measured value |  |  |  |  |  4.1 % of measured value |  |  | 12M |  |  | July 20 July 21 |  |  |  | PCR-ML-167
Ra 0.19
Ra 0.56
Ra 1.48
Depth 0.36
Depth 2.49
Prepared Officer-In-Charge Metrology Laboratory | [7 empty] | Approved Quality Manager Metrology Laboratory | [18 empty] | Status
CENTRAL MANUFACTURING TECHNOLOGY INSTITUTE TUMKUR ROAD, BENGALURU- 560 022
|  | METROLOGY LABORATORY | [30 empty] | Doc. No.: DOC/ML/014E
Rev. No.: 40 Date: 11.08.2020 Sheet 3 of 9
PERIODIC CALIBRATION SCHEDULES
Sl. No. | Name Of The Equipment |  | Location |  | Receipt date | Make/Model |  |  | Idfn No. |  | Range |  | Acceptable Limit | [11 empty] | Overall Measurement uncertainty |  |  | Calibratio n Freq / Month |  |  | Date of last calibration / calibration due on |  |  |  | PCR No. |  |  | Remarks
20 | Flatness Interferometer |  | PML |  | Aug 2010 | Zygo-USA |  |  | FI-C-01 |  | Upto 100 mm |  | (41 ± 30) nm | [11 empty] |  40 nm |  |  | 12M |  |  | Jan 20 Jan 21 |  |  |  | PCR-ML-137
21 | Flick Standard |  | PML |  | Mar 2006 | Taylor Hobson 112/2308 Sl. No.: W713 |  |  | FTMFS-C- 01L |  | --- |  | 18.65±1µm | [11 empty] |  0.41 µm |  |  | 36M |  |  | July 19 July 22 |  |  |  | PCR-ML- 121B
22 | Glass Hemisphere |  | PML |  | Mar 2006 | Taylor Hobson 112/2324 Sl. No.: 6661 |  |  | FTMGH-C- 01L |  | --- |  | 0.013 ± 0.06 µm | [11 empty] | ±0.06 µm |  |  | 36M |  |  | July 19 July 22 |  |  |  | PCR-ML- 121A
23 | Gauge Block Comparator |  | PML |  | Apr 2013 | Mahr Federal, 200105 |  |  | GBC-C-02 |  | Upto 100 mm |  | ±0.025 µm per 1.25 µm | [11 empty] |  0.043 µm |  |  | 12M |  |  | Dec 19 Dec 20 |  |  |  | PCR-ML-146
24 | Universal Length Measuring Machine |  | PML |  | Nov 2009 | Microrep DMS 680 |  |  | GMC-C-02 |  | 0-680 mm |  |  (0.2+L/1000) µm, L is in mm | [11 empty] |  (0.16+L/500) µm |  |  | 12M |  |  | Nov 19 Nov 20 |  |  |  | PCR-ML-129
25 | Gear Master (Profile & Lead Master) |  | ML |  | July 2002 | Klingelnberg |  |  | GM-C-02L |  | 0°, 15° (LH & RH) |  | Profile | Lead angle 0°: 6.8 µm | [10 empty] |  2.8 µm |  |  | 24M |  |  | Feb 19 Feb 21 |  |  |  | PCR-ML-092
Lead angle 15°R: 7.8 µm
Lead angle 15°L: 6.5 µm
[13 empty] | Lead | Lead angle 0°: 4.4 µm
Lead angle 15°R: 6.1 µm
Lead angle 15°L: 5.7 µm
26 | Gear Testing Machine |  | ML |  | 1978 | K’berg/PFSU- 640 |  |  | GTM-C-01 |  | Upto Ø 640 mm (OD) |  | Profile | Lead angle 0°: 6.8 µm | [10 empty] |  2.6 µm |  |  | 12M |  |  | Feb 20 Feb 21 |  |  |  | PCR-ML-027
Lead angle 15°R: 7.8 µm
Lead angle 15°L: 6.5 µm
Lead angle 30°R: 5.9 µm
Lead angle 30°L: 6.6 µm
[13 empty] | Lead | Lead angle 0°: 4.4 µm
Lead angle 15°R: 6.1 µm
Lead angle 15°L: 5.7 µm
Lead angle 30° R: 9.5 µm
Lead angle 30°L: 8.4 µm
27 | Granite L Square |  | LMS |  | Oct 2006 | CMTI |  |  | GLS-C-01 |  | 600X500X60 mm |  | ± 6 µm | [11 empty] |  3.2 µm |  |  | 24M |  |  | Oct 18 Oct 20 |  |  |  | PCR-ML-131
28 | Granite Square |  | LMS |  |  | CMTI |  |  | GS-C-03 |  | 200X200X100 mm |  | ± 6 µm | [11 empty] |  3.2 µm |  |  | 24M |  |  | Apr 19 Apr 21 |  |  |  | PCR-ML-152
29 | Height Meas. Instrument |  | ML |  | May 1999 | TESA Micro-hite 900 |  |  | HMI-C-01 |  | 0-900 mm |  | Scale calibration | [7 empty] |  8.0 µm |  |  |  |  (1+L/400) µm |  |  | 18M |  |  | Apr 19 Oct 20 |  |  |  | PCR-ML-030
[13 empty] | Geometrical parameter | [7 empty] |  12.0µm |  |  |  | ± 2µm
[13 empty] | Setting master | [7 empty] |  0.5 µm |  |  |  | ± 1µm
Prepared Officer-In-Charge Metrology Laboratory | [7 empty] | Approved Quality Manager Metrology Laboratory | [18 empty] | Status
CENTRAL MANUFACTURING TECHNOLOGY INSTITUTE TUMKUR ROAD, BENGALURU- 560 022
|  | METROLOGY LABORATORY | [30 empty] | Doc. No.: DOC/ML/014E
Rev. No.: 40 Date: 11.08.2020 Sheet 4 of 9
PERIODIC CALIBRATION SCHEDULES
Sl. No. | Name Of The Equipment |  | Location |  | Receipt date |  | Make/Model |  | Idfn No. |  | Range | Acceptable Limit | [13 empty] | Overall Measurement uncertainty |  |  | Calibration Freq / Month |  |  | Date of last calibration/ calibration due on |  |  |  | PCR No. |  |  | Remarks
30 | Indexing Table |  | PML |  | 1980 |  | Moore /1440 8-1440-142 |  | IDT-C-01 |  | 0-360° | ± 1.5 arc sec | [13 empty] |  1.5 arc sec |  |  | 24M |  |  | May 19 May 21 |  |  |  | PCR-ML-033
31 | Laser Measurement System XL-80 |  | LMS |  | 2011 |  | Renishaw - U.K 07T096 |  | LMS-C-07 |  | Upto 80 m | Basic laser | [9 empty] | ±0.1ppm |  |  |  | ± (0.058+0.9L) µm L is in meter |  |  | 12M |  |  | May 20 May 21 |  |  |  | PCR-ML- 140
[12 empty] | Basic laser & air sensor | [9 empty] | ±0.5ppm
[12 empty] | Total system | [9 empty] | ±1.5ppm
32 | Laser Measurement System ML-10 |  | LMS |  | May 2017 |  | Renishaw - U.K |  | LMS-C-10 |  | Upto 40 m | Basic laser | [9 empty] | ±0.1ppm |  |  |  | ± (0.058+0.9L) µm L is in meter |  |  | 12M |  |  | May 20 May 21 |  |  |  | PCR-ML- 157
[12 empty] | Basic laser & air sensor | [9 empty] | ±0.7ppm
[12 empty] | Total system | [9 empty] | ±1.6ppm
33 | Laser Measurement System XL-80 |  | LMS |  | May 2013 |  | Renishaw - U.K 72K760 |  | LMS-C-09 |  | Upto 80 m | Linear Measurement Accuracy (ppm) | [9 empty] | ±0.5ppm |  |  |  |  (0.058+0.9L) µm L is in meter |  |  | 12M |  |  | Feb 20 Feb 21 |  |  |  | PCR-ML-105
[12 empty] | Laser Frequency Accuracy (ppm) | [9 empty] | ±0.05 ppm
34 | Length Measuring Machine |  | ML |  | 1967 |  | Hilger & Watts/TL 93 No. 197270 |  | LMM-C-01 |  | Upto 2.5 m | ±38 µm | [13 empty] |  (3+L/110) µm |  |  | 18M |  |  | July 19 Jan 21 |  |  |  | PCR-ML-038
35 | Master Cylinder |  | PML |  | Apr 2006 |  | Taylor Hobson 112/1997 Sl. No. 6662 |  | FTMMC-C- 01L |  | 500 mm | Roundness | [5 empty] | ± 1 µm | [7 empty] | ± 0.19 µm |  |  | 36 M |  |  | Sep 19 Sep 22 |  |  |  | PCR-ML-121- C
[12 empty] | Other Geometrical Parameter | [5 empty] | ± 2 µm | [7 empty] | ± 1.2 µm
[12 empty] | Surface Roughness | [5 empty] | Within 5.5 % of the measured value | [7 empty] |  6.8 % of the measured value
36 | Master Glass Scale |  | ML |  | Aug 1990 |  | Nikon 5468 |  | MGS-C-01 |  | 0-50 mm, 0-300 mm | Upto 50 mm | [5 empty] | 2.5 µm | [7 empty] |  (0.3+L/500) µm |  |  | 12M |  |  | May 20 May 22 |  |  |  | PCR-ML-077
[12 empty] | Upto 300 mm | [5 empty] | 5 µm
37 | Master Ring Gauge – 40 mm |  | PML |  | --- |  | Etalon |  | MRG-C-01 |  | Ø 40 mm | 40.0016 ± (0.84 µm) | [13 empty] |  0.83 µm |  |  | 24M |  |  | May 20 May 22 |  |  |  | PCR-ML-031
38 | Master Ring Gauge – 14 mm |  | PML |  | Dec 2009 |  | ---- |  | MRG-C-02 |  | Ø14 mm | 13.9982 ±( 0.82 µm) | [13 empty] |  0.83 µm |  |  | 24M |  |  | Jun 19 Jun 21 |  |  |  | PCR-ML-037
39 | Micrometer Digital |  | ML |  | July 2018 |  | Mitutoyo |  | MID -C - 02 |  | 0-25 mm | Thimble calibration | [6 empty] | 4µm | [6 empty] |  0.0015 mm |  |  | 12M |  |  | July 20 July 21 |  |  |  | PCR-ML-161
[12 empty] | Parallelity of faces | [6 empty] | 2µm
[12 empty] | Flatness of faces | [6 empty] | < 1µm
40 | Optical Parallel |  | PML |  | Mar 2012 |  | Mitutoyo |  | OP-C-01 |  |  | Flatness | [6 empty] | 0.05±0.03µm | [6 empty] | Flatness:  0.041 µm Parallelity:  0.067 µm Size:  0.5 µm |  |  | 24M |  |  | Apr 19 Apr 21 |  |  |  | PCR-ML-141
[12 empty] | Parallelity | [6 empty] | 0.15±0.05µm
Prepared Officer-In-Charge Metrology Laboratory | [7 empty] | Approved Quality Manager Metrology Laboratory | [18 empty] | Status
CENTRAL MANUFACTURING TECHNOLOGY INSTITUTE TUMKUR ROAD, BENGALURU- 560 022
|  | METROLOGY LABORATORY | [30 empty] | Doc. No.: DOC/ML/014E
Rev. No.: 40 Date: 11.08.2020 Sheet 5 of 9
PERIODIC CALIBRATION SCHEDULES
Sl. No. | Name Of The Equipment |  | Location |  | Receipt date |  | Make/Model |  | Idfn No. |  | Range | Acceptable Limit | [13 empty] | Overall Measurement uncertainty |  |  | Calibration Freq / Month |  |  | Date of last calibration/ calibration due on |  |  |  | PCR No. |  |  | Remarks
41 | Optical Flat |  | PML |  | Mar 2012 |  | Mitutoyo |  | OF-C-01 |  | Ø 30 mm | (0.05±0.036) µm | [13 empty] |  0.041 µm |  |  | 24M |  |  | Apr 19 Apr 21 |  |  |  | PCR-ML-142
42 | Optical Flat |  | PML |  | Aug 2010 |  | Zygo 10-875 |  | RF-C-02 |  | Ø 100 mm | (0.027±0.030) µm | [13 empty] |  0.041 µm |  |  | 24M |  |  | Mar 19 Mar 21 |  |  |  | PCR-ML-153
43 | Optical Flat |  | PML |  | May 2006 |  | Taylor Hobson 112/1998 Sl. No.: 50302 |  | FTMOF-C- 01L |  | Ø 250 mm | Straightness < 0.2 µm | [13 empty] |  0.1 µm |  |  | 36 M |  |  | Jan 18 Jan 21 |  |  |  | PCR-ML- 121D
44 | Precision eccentric mandrel |  | PML |  | Jan 2010 |  | - |  | PEM-C-01 |  | --- | Eccentricity at section 1 | [10 empty] | (6.3±2.0) |  |  |  3.1 µm |  |  | 12 M |  |  | Jan 20 Jan 21 |  |  |  | PCR-ML-130
[12 empty] | Eccentricity at section 2 | [10 empty] | (24.8±2.0)
45 | Precision Mandrels |  | PML |  | Feb 2010 |  | -- |  | PM-C-01, 02,03,04,05 |  | --- | Max. variation in dia | [10 empty] | 3 µm |  |  | Geometrical:  1.2 µm Dimension:  2 µm |  |  | 24M |  |  | Feb 19 Feb 21 |  |  |  | PCR-ML-132
[12 empty] | Max. lack of trueness of rotation | [10 empty] | 3 µm
[12 empty] | Straightness of cylindrical portion | [10 empty] | 3 µm
46 | Precision Polygon Mirror 12 sided |  | PML |  | June 1978 |  | Hilger & Watts 226995 |  | PPM-C-01 |  | 0-360° | Individual : ±2 arc sec Cumulative : ±2 arc sec | [13 empty] | ± 2.6 arc sec |  |  | 36M |  |  | Jun 20 Jun 23 |  |  |  | PCR-ML-047
47 | Precision Polygon Mirror 8 sided |  | PML |  | Dec 1990 |  | Starrett 40689.2 |  | PPM-C-02 |  | 0-360° | Angular Accuracy : ±2 arc sec | [13 empty] | ± 2.6 arc sec |  |  | 36M |  |  | Jun 20 Jun 23 |  |  |  | PCR-ML-048
48 | Precision Polygon Mirror 12 sided |  | LMS |  | ----- |  | Taylor Hobson 6053 |  | PPM-C-04 |  | 0-360° | ± 2 arc sec | [13 empty] |  3 arc sec |  |  | 24M |  |  | Sept 19 Sept 21 |  |  |  | PCR-ML-148
49 | Plane Mirror single sided |  | PML |  | Aug 2003 |  | Moller wedel – Germany 101 |  | PM-C-01L |  | --- | (0.05±0.03) µm | [13 empty] |  41 nm |  |  | 24M |  |  | Mar 19 Mar 21 |  |  |  | PCR-ML-112
50 | Plane Mirror Double sided |  | PML |  | Aug 2003 |  | Moller wedel - Germany 205223 |  | DPM-C-01L |  | --- | Face A |  |  |  | (0.05 ± 0.03) µm | [9 empty] |  41 nm |  |  | 24M |  |  | Mar 19 Mar 21 |  |  |  | PCR-ML-113
[12 empty] | Face B |  |  |  | (0.05 ± 0.03) µm
51 | Profile Projector |  | ML |  | Aug 1990 |  | Nikon /V-24B 76805 |  | PPR-C-01 |  | Upto 200 mm & 0-360° | X-axis |  |  |  | ±2.5 µm | [9 empty] | Linear:  (0.85+L/166) µm Angular: a) 2 arc min (protractor) b) 17 arc sec (DRO) Magnification:  0.4% |  |  | 18M |  |  | Apr 19 Oct 20 |  |  |  | PCR-ML-046
[12 empty] | Y-axis |  |  |  | ±2.5 µm
[12 empty] | Protractor scale |  |  |  | 3 arc min
[12 empty] | Magnification |  |  |  | 0.05%
52 | Radius Standard |  | ML |  | Oct 2018 |  | Taylor Hobson 112/2028-01 UC Sl. No. 12464 |  | FTSM-C-05 |  | -- | Form |  |  |  | ± 1 µm | [9 empty] | Form: ± 0.07 µm Size: ± 1.6 µm |  |  | 24M |  |  | Jul 20 Jul 22 |  |  |  | PCR-ML-164
[12 empty] | Size |  |  |  | ± 3 µm
53 | Reference Sphere |  | ML |  | 1987 |  | Zeiss Germany 81020 |  | MRS-C-02L |  | Ø29.9508 mm | Size : ± 2 µm Roundness : 0.3 µm Roughness: Within 5.5 % of measured value | [13 empty] | Size:  0.5 µm Roundness:  0.06 µm Roughness :  5.5 % of the measured value |  |  | 24M |  |  | Mar 19 Mar 21 |  |  |  | PCR-ML-156
Prepared Officer-In-Charge Metrology Laboratory | [7 empty] | Approved Quality Manager Metrology Laboratory | [18 empty] | Status
CENTRAL MANUFACTURING TECHNOLOGY INSTITUTE TUMKUR ROAD, BENGALURU- 560 022
|  | METROLOGY LABORATORY | [30 empty] | Doc. No.: DOC/ML/014E
Rev. No.: 40 Date: 11.08.2020 Sheet 6 of 9
PERIODIC CALIBRATION SCHEDULES
Sl. No. | Name Of The Equipment |  | Location |  | Receipt date |  | Make/Model |  | Idfn No. |  | Range | Acceptable Limit | [13 empty] | Overall Measurement uncertainty |  |  | Calibration Freq / Month |  |  | Date of last calibration/ calibration due on |  |  |  | PCR No. |  |  | Remarks
54 | Ring gauges |  | ML |  | Dec 2009 |  | Bowers England TESA, Swiss. |  | SRG-C-01 |  | 8.0 to 175.0 mm | Within UOM from nominal value | [13 empty] | Upto 100 mm:  (0.85+L/1000)µm 100-175 mm:  (0.1+L/125) µm |  |  | 24M |  |  | Dec 18 Dec 20 |  |  |  | PCR-ML-012
55 | Rotary Indexer / Rotary Calibrator |  | LMS |  | Oct 2012 |  | Renishaw 60K746 |  | LMS-C-08 |  | 0-360° | ± 1.5 arc sec | [13 empty] |  2.7 arc sec |  |  | 12M |  |  | Aug 20 Aug 21 |  |  |  | PCR-ML-145
56 | Rotary Table, Digital |  | PML |  | 1969 |  | Moore 40313 |  | RTD-C-01 |  | 0-360° | ± 2 arc sec | [13 empty] |  1.8 arc sec |  |  | 24M |  |  | Jun 19 Jun 21 |  |  |  | PCR-ML-051
57 | Roughness Master |  | PML |  | Aug 1989 |  | Perthen 6820602 |  | S8P-C-02L |  | --- | Ra 0.53 |  |  | Within 5.5 % of measured value | [10 empty] |  5.5 % of the measured value |  |  | 24M |  |  | Oct 18 Oct 20 |  |  |  | PCR-ML-084
Rz 1.91
58 | Roughness Master |  | PML |  | Oct 2000 |  | RTH-UK 4088 |  | FTSM-C- 02L |  | --- | Ra 0.22 µm |  |  | Within 5.5 % of measured value | [10 empty] |  6.5 % of the measured value |  |  | 24M |  |  | July 19 July 21 |  |  |  | PCR-ML-089
Depth 0.36 µm
Depth 2.51 µm
59 | Roundness Measuring Machine (High Precision) |  | PML |  | Apr 2006 |  | Talylor Hobson- UK Talyrond 290 |  | RTR-C-02 |  | ±1 mm ±0.2 mm ±0.04 mm | Spindle rotational accuracy |  |  | (0.013±0.03) µm | [10 empty] | Roundness:  0.06 µm Magnification:  (0.4 +L/400) µm Other parameters:  1.15 µm |  |  | 24M |  |  | *Apr 18 Apr 20 |  |  |  | PCR-ML- 120 |  |  | * Instrument is under maintenance and PO placed for spare part of the system.
[12 empty] | Pick up magnification |  |  | (18.5±0.18) µm
[12 empty] | Straightness of horizontal arm |  |  | (0.1±0.1)±0.5µm/2 00 mm
[12 empty] | Straightness of vertical column |  |  | Track A (0.68±0.1)±0.3µm/ 500 mm
Track B (0.68±0.1)±0.3µm/ 500 mm
60 | Roundness Measuring Machine (High Precision) |  | PML |  | Oct 2018 |  | Talylor Hobson- UK Talyrond 585 H |  | RTR-C-03 |  | ±2 mm ±1mm ±0.2 mm ±0.04 mm | Spindle rotational accuracy |  |  | (0.013 ± 0.03) µm | [10 empty] | Roundness:  0.06 µm Magnification:  (0.4 +L/400) µm Other parameters:  1.15 µm |  |  | 24M |  |  | Jul 19 Jul 21 |  |  |  | PCR-ML- 168
[12 empty] | Pick up magnification |  |  | (19.45 ± 0.5) µm
(292.78 ± 1) µm
[12 empty] | Straightness of horizontal arm |  |  | (0.08±0.1)±0.25µ m/200 mm
[12 empty] | Straightness of vertical column |  |  | Track A (0.38±0.1)±0.3µm/ 500 mm
Track B (0.45±0.1)±0.3µm/ 500 mm
Prepared Officer-In-Charge Metrology Laboratory | [7 empty] | Approved Quality Manager Metrology Laboratory | [18 empty] | Status
CENTRAL MANUFACTURING TECHNOLOGY INSTITUTE TUMKUR ROAD, BENGALURU- 560 022
|  | METROLOGY LABORATORY | [30 empty] | Doc. No.: DOC/ML/014E
Rev. No.: 40 Date: 11.08.2020 Sheet 7 of 9
PERIODIC CALIBRATION SCHEDULES
Sl. No. | Name Of The Equipment |  | Location |  | Receipt date |  | Make/Model |  | Idfn No. |  | Range | Acceptable Limit | [13 empty] | Overall Measurement uncertainty |  |  | Calibration Freq / Month |  |  | Date of last calibration/ calibration due on |  |  |  | PCR No. |  |  | Remarks
61 | Slip Gauges (Metric) Long 900-1000mm |  | PML |  | Jan 2001 |  | KOBA- Germany 86596/ 86724 |  | SGL-C-01L |  | 900 & 1000 mm | 900 mm |  |  | ±3.8µm | [10 empty] |  (1+L/500) µm |  |  | 24M |  |  | Mar 19 Mar 21 |  |  |  | PCR-ML-086
[12 empty] | 1000 mm |  |  | ±4.2µm
62 | Slip Gauges (Metric) Long 900-1000mm |  | PML |  | Jan 2001 |  | KOBA- Germany 86658/ 86723 |  | SGL-C-02 |  | 900 & 1000 mm | 900 mm |  |  | ±3.8µm | [10 empty] |  (0.9+L/474) µm |  |  | 24M |  |  | Nov 18 Nov 20 |  |  |  | PCR-ML-087
[12 empty] | 1000 mm |  |  | ±4.2µm
63 | Slip Gauges 125- 800mm Grade ‘0’ Long Series |  | ML |  | Oct 1992 |  | Mauser No. 5381 |  | SGM-C-07 |  | 125-800 mm | 125 mm |  |  | ±0.4µm | [10 empty] | Upto and including 300 mm:  (0.45+L/1000) µm |  |  | 24M |  |  | Nov 19 Nov 21 |  |  |  | PCR-ML-065
[12 empty] | 150 mm |  |  | ±0.4µm
[12 empty] | 175 mm |  |  | ±0.5µm
[12 empty] | 200 mm |  |  | ±0.5µm
[12 empty] | 250 mm |  |  | ±0.6µm
[12 empty] | 300 mm |  |  | ±0.7µm | [10 empty] | Above 300mm upto 800 mm:  (1.0+L/500) µm
[12 empty] | 400 mm |  |  | ±0.9µm
[12 empty] | 500 mm |  |  | ±1.1µm
[12 empty] | 600 mm |  |  | ±1.3µm
[12 empty] | 700 mm |  |  | ±1.5µm
[12 empty] | 800 mm |  |  | ±1.7µm
64 | Slip Gauges 125- 500mm Grade ‘K’ Long Series |  | PML |  | Oct 2003 |  | KOBA- Germany 87067 |  | SGM-C-08 L |  | 125-500 mm | 125mm |  |  | ±0.8µm | [10 empty] | Upto and including 300 mm:  (0.45+L/1000) µm |  |  | 24M |  |  | Nov 19 Nov 21 |  |  |  | PCR-ML-109
[12 empty] | 150 mm |  |  | ±0.8µm
[12 empty] | 175 mm |  |  | ±1.0µm
[12 empty] | 200 mm |  |  | ±1.0µm | [10 empty] | Above 300mm upto 500 mm:  (1.0+L/500) µm
[12 empty] | 250 mm |  |  | ±1.2µm
[12 empty] | 300 mm |  |  | ±1.4µm
[12 empty] | 400 mm |  |  | ±1.8µm
[12 empty] | 500 mm |  |  | ± 2.2µm
Prepared Officer-In-Charge Metrology Laboratory | [7 empty] | Approved Quality Manager Metrology Laboratory | [18 empty] | Status
CENTRAL MANUFACTURING TECHNOLOGY INSTITUTE TUMKUR ROAD, BENGALURU- 560 022
|  | METROLOGY LABORATORY | [30 empty] | Doc. No.: DOC/ML/014E
Rev. No.: 40 Date: 11.08.2020 Sheet 8 of 9
PERIODIC CALIBRATION SCHEDULES
Sl. No. | Name Of The Equipment |  |  | Location | Receipt date | Make/Model |  |  | Idfn No. | Range |  | Acceptable Limit | [13 empty] | Overall Measurement uncertainty |  | Calibra tion Freq / Month |  | Date of last calibration/ calibration due on |  |  |  | PCR No. |  |  | Remarks
65 | Slip Gauges 600- 1000mm Grade ‘K’ Long Series |  |  | PML | Oct 2003 | KOBA-Germany 87014 |  |  | SGM-C-09 L | 600-1000 mm |  | 600 mm | [6 empty] | ± 2.6µm | [6 empty] |  (1+L/500)µm |  | 24M |  | Nov 19 Nov 21 |  |  |  | PCR-ML-110
[12 empty] | 700 mm | [6 empty] | ± 3.0µm
[12 empty] | 800 mm | [6 empty] | ± 3.4µm
[12 empty] | 900 mm | [6 empty] | ± 3.8µm
[12 empty] | 1000 mm | [6 empty] | ± 4.2µm
66 | Slip gauges –Metric Koba, Grade ‘K’ |  |  | PML | Dec 2006 | koba 87565 |  |  | SGM-C-09 | 0.5 – 100 mm |  | Upto 10 & including 10 mm | [6 empty] | ± 0.2µm | [6 empty] |  (0.054+L/2079)µm |  | 24M |  | Feb 20 Feb 22 |  |  |  | PCR-ML-122
[12 empty] | Over 10 to 25 mm | [6 empty] | ± 0.3µm
[12 empty] | Over 25 to 50 mm | [6 empty] | ± 0.4µm
[12 empty] | Over 50 to 75 mm | [6 empty] | ± 0.5µm
[12 empty] | Over 75 to 100 mm | [6 empty] | ± 0.6µm
67 | Slip Gauges –Metric Steel Grade ‘0’ |  |  | PML | Mar 2006 | KOBA 87361 |  |  | SGM-C-08 | 0.5 – 100 mm |  | Upto & including 10 mm | [11 empty] | ±0.12µm |  |  (0.054+L/2086)µm |  | 24M |  | Mar 20 Mar 22 |  |  |  | PCR-ML-117
[12 empty] | Over 10 to 25 mm | [11 empty] | ±0.14µm
[12 empty] | Over 25 to 50 mm | [11 empty] | ± 0.2µm
[12 empty] | Over 50 to 75 mm | [11 empty] | ±0.25µm
[12 empty] | Over 75 to 100 mm | [11 empty] | ± 0.3µm
68 | Slip Gauges–Metric Ceramic Grade ‘0’ |  |  | PML | 1992 | Mitutoyo SL. No. 304078 |  |  | SGM-C-04 | 0.5-100 mm |  | Upto 25 mm | [11 empty] | ±0.14µm |  |  (0.053+L/2131)µm |  | 24M |  | Apr 19 Apr 21 |  |  |  | PCR-ML-062
[12 empty] | 25-50 mm | [11 empty] | ± 0.2µm
[12 empty] | 50-75 mm | [11 empty] | ±0.25µm
[12 empty] | 75-100 mm | [11 empty] | ± 0.3µm
69 | Step Gauge-420mm |  |  | ML | Jul 1996 | KOBA-Germany 960618/ 71K |  |  | SGK-C-01L | 420 mm |  | Within UOM from nominal value | [13 empty] |  (0.85+L/450)µm |  | 24M |  | May 20 May 22 |  |  |  | PCR-ML-078A
70 | Step Gauge-620mm |  |  | ML | Jul 1996 | KOBA-Germany 960617/ 77K |  |  | SGK-C-02L | 620 mm |  | Within UOM from nominal value | [13 empty] |  (0.85+L/450)µm |  | 24M |  | May 20 May 22 |  |  |  | PCR-ML-078B
71 | Step Gauge-1020mm |  |  | ML | Jul 1996 | KOBA-Germany 960614/ 95B |  |  | SGK-C-03L | 1020 mm |  | Within UOM from nominal value | [13 empty] |  (0.85+L/450)µm |  | 24M |  | May 20 May 22 |  |  |  | PCR-ML-078C
72 | Surface plate, Granite |  |  | PML | 2002 | CMTI N2-449 |  |  | SPG-C-02 | 1000X2000 mm |  | 9.5 µm | [13 empty] |  4.6 µm |  | 24M |  | Feb 20 Feb 22 |  |  |  | PCR-ML-060
73 | Surface Plates, Granite |  |  | ML | 1966 | CMTI |  |  | SPG-C-01 | 1000X2000 mm |  | 9.5 µm | [13 empty] |  5 µm |  | 24M |  | Jun 20 Jun 22 |  |  |  | PCR-ML-058
Prepared Officer-In-Charge Metrology Laboratory | [7 empty] | Approved Quality Manager Metrology Laboratory | [18 empty] | Status
CENTRAL MANUFACTURING TECHNOLOGY INSTITUTE TUMKUR ROAD, BENGALURU- 560 022
|  | METROLOGY LABORATORY | [30 empty] | Doc. No.: DOC/ML/014E
Rev. No.: 40 Date: 11.08.2020 Sheet 9 of 9
PERIODIC CALIBRATION SCHEDULES
Sl. No. | Name Of The Equipment |  |  | Location | Receipt date | Make/Model |  |  | Idfn No. | Range |  | Acceptable Limit | [13 empty] | Overall Measurement uncertainty |  | Calibra tion Freq / Month |  | Date of last calibration/ calibration due on |  |  |  | PCR No. |  |  | Remarks
74 | Surface Roughness Tester |  |  | ML | --- | Mahr - Germany |  |  | SRT-C-02 | ---- |  | Ra 0.05 |  |  |  |  | Within 5.5 % of measured value | [8 empty] |  5 % of measured value |  | 12M |  | Aug 20 Aug 21 |  |  |  | PCR-ML-147
Ra 0.19
Ra 0.56
Ra 1.48
Depth 0.36
Depth 2.49
75 | Thread Measuring Wires |  |  | PML | Nov 2009 | Microrep |  |  | TMC-C-02 | 0.17-6.35 mm |  | ± 0.5 µm | [13 empty] |  0.5 µm |  | 12M |  | Nov 19 Nov 20 |  |  |  | PCR-ML-128
76 | Tungsten Carbide Calibration Ball |  |  | PML | Oct 2000 | RTH – UK 112/1844/ 19504/ J |  |  | FTSM-C-03 | --- |  | Roundness |  |  |  |  | ± 0.2 µm | [8 empty] |  0.07 µm |  | 36M |  | July 20 July 23 |  |  |  | PCR-ML-090
[12 empty] | Radius |  |  |  |  | 21.9751± 0.8 µm | [8 empty] |  0.5 µm
[12 empty] | Surface roughness |  |  |  |  | --- | [8 empty] |  5.5%
77 | Ultra Precision Co- ordinate Measuring Machine |  |  | PML | Apr 2008 | Zeiss UPCMM F25 |  |  | CMM-C-02 | 130X130X1 00 mm |  | ±(0.25+L/666) µm | [13 empty] |  0.60 µm |  | 24M |  | Nov 18 Nov 20 |  |  |  | PCR-ML-125
78 | Vertical Metroscope |  |  | ML | 1966 | Carl Zeiss |  |  | VMS-C-01 | 0-100 mm |  | ± 2.0 µm | [13 empty] |  (0.99+L/1200) µm |  | 18M |  | Apr 19 Oct 20 |  |  |  | PCR-ML-076
Note: Wherever possible error component of equipment / master is to be compensated, if it is not possible to compensate, this error component is to be added to UOM.
Prepared Officer-In-Charge Metrology Laboratory | [7 empty] | Approved Quality Manager Metrology Laboratory | [18 empty] | Status
CENTRAL MANUFACTURING TECHNOLOGY INSTITUTE TUMKUR ROAD, BENGALURU- 560 022